**Background**

Orthoses are routinely prescribed to people with diabetes to offload pressure in areas of the foot that may cause ulceration. However, there is little scientific evidence on the use of custom foot orthoses in diabetes to improve gait and reduce further deformity. Systematic reviews that have examined the effectiveness of orthoses in preventing ulceration in people with diabetes1-4 have cautiously supported their use, with the authors considering the limited evidence from which they had made their conclusion. Subsequently these reviews have pointed out a major limitation of research in this area; although orthoses are shown to be of benefit in preventing ulceration current research does not allow for recommendations regarding the type of orthoses to be prescribed. Furthermore research to date does not provide a conclusive answer to what the most suitable materials to use in constructing orthoses for different patient requirements are5.

In-shoe pressure measurements, namely peak pressure, peak force and pressure time integral6 are the most common outcome measures used in research to determine the effectiveness of orthoses7-10. The widespread use of in-shoe pressure measurements in research studies involving orthotic effectiveness is based on the established link between high foot pressure and ulceration which has previously been shown in an early retrospective study by Stokes et al.11 and a more recent prospective study by Veves et al.12. The cause of increased foot pressure in people with diabetes has received much discussion with both neuropathy13,14 and limited joint mobility at the ankle and foot15-17 believed to contribute. Of the limited research available which used in-shoe plantar pressure measurements to compare orthoses materials some have focused on the effect of wear on the materials9,18,19 while others have compared the immediate effect of different orthoses materials on plantar pressures while walking20,21. Both of these studies compared flat insoles with Birke et al.20 comparing Poron® insoles of different hardness values and Tong and Ng21 comparing two types of Poron® and two combinations of Poron® and Plastazote®. While this previous research examining Poron was warranted as it is a common prescription choice, other materials which are commonly prescribed, such as ethyl vinyl acetate and polyurethane22, have not been examined.

The comparison of plantar pressures when using flat versus custom orthoses have been conducted by a number of researchers7,10,20,23-26. While direct comparison between these studies is not possible due to the wide variety in both participants and interventions used results from all but one of these studies23 has supported the use of custom orthoses over flat. Only one of these studies24 used the same material in the construction of both their flat insoles and custom devices, allowing identification of possible differences in the materials performance when used flat and when custom moulded to a participant’s foot. Previous research which has examined the effect of orthoses on lower limb kinematics has shown that changes in kinematics are evident when wearing orthoses compared to a shoe only condition27.

With the range of material available for the manufacture of custom foot orthoses growing year on year, the aim of this study was to gain a greater understanding of the characteristics of the materials used and how they affect gait with a view to informing the clinical decision making process in the provision of foot orthoses for people with diabetes. To extend the current knowledge and understanding in this area, it was hypothesized that insole material (ethyl vinyl acetate and polyurethane) and construction (flat and custom) would have an effect on lower limb kinematics andplantar pressures.

### Methods

### *Participants*

10 healthy participants (4 males and 6 females) with an average age of 30.9 (± 12.4 years), weight of 69.3 (± 12.2 kg) and height of 172.0 (± 9.4 cm) were recruited for the study. While the authors acknowledge the limitations associated with using a small sample size previous research has reported that sufficient statistical power can be achieved when using a sample size of 1028. While the authors acknowledge that differences in gait are evident between gender the focus of this study was on comparing the orthotic materials and not the participants and therefore we don’t consider gender to be an issue in this manuscript.

Ethical approval was received from the University ethics committee and all participants signed the approved consent form before participating in the tests. All participants were free from any musculoskeletal injury at the time of testing and had no known history of foot pathologies or structural abnormalities.

*Procedure*

This lab based study compared the effects of material choice (used in the manufacture of orthoses) on lower limb kinematics and plantar pressures. Materials chosen to be tested were: low density polyurethane (PU) [Shore A hardness 20-25], medium density PU [Shore A hardness 55 ± 3], low density Ethyl Vinyl Acetate (EVA) [Shore A hardness 25] and medium density EVA [Shore A hardness 50]. The materials used were selected based on a previous survey, which found that these are the materials used within orthoses that are commonly prescribed to people with diabetes22.

The study consisted of two testing sessions with the 1st session requiring participants to walk on a treadmill while wearing standardised plimsoll shoes (a minimalistic athletic shoe with a canvas upper and rubber sole) under five conditions; (1) shoe only, *and shoe with* (2) 3 mm flat insole of low density PU, (3) 3 mm flat insole of medium density PU, (4) 3 mm flat insole of low density EVA and (5) 3 mm flat insole of medium density EVA. As the focus of this study was on comparing the orthotic materials we choose this “minimalistic” footwear as we wanted to limit the effect of the footwear on gait.Following this baseline assessment, participants had foam box impressions of their feet taken by the same experienced clinician. These impressions were used to create custom devices for each participant in each of the two densities (low and medium) of the two materials (PU and EVA) for the 2nd testing session. These devices were created using CAD/CAM technology with a standard mode of manufacture. A standard prescription form (Salts Techstep, UK) was used with a 4° medial extrinsic rearfoot posting and forefoot balanced to rearfoot vertical on a shell customised to the participant. This type of prescription is common and traditional within the podiatric profession across various countries (Modified Root prescription technique).No attempt was made to evaluate the participants using clinical biomechanical paradigms as it was the function of the device not the participant that was of interest. A 4° rearfoot posting was used as this was thought to be a very common prescription characteristic across various common orthotic interventions. Prescribed devices were full length with 3 mm thickness under the forefoot, toes and heel, and a top cover of 1 mm medium density EVA.

The testing procedure for the 1st session was replicated with the five conditions for this 2nd session being; (1) shoe only, *and shoe with* (2) custom device of low density PU, (3) custom device of medium density PU, (4) custom device of low density EVA and (5) custom device of medium density EVA. The order of testing condition for both sessions for each participant was randomly determined using a computer generated random number list (MS Excel 2007, Microsoft, USA). Forty two reflective spherical markers (14 mm diameter) were placed on anatomical landmarks on the participant, using double-sided tape on their bases, for use with the Plug-in-Gait and Oxford Foot Models29. The shoes used in the present study were modified to allow the reflective markers to be placed on the participants’ feet. Shoe modification involved removing sections of the shoes canvas upper to allow the placement of markers on anatomical landmarks. A minimum amount of material was removed to allow the placement and unobstructed movement of markers during gait while aiming to maintain the structural stability of the shoe. As the reflective markers which were placed on the feet had to be removed and reapplied when footwear conditions were changed markings were made on the skin where markers were to be placed to aid correct reapplication. An 8 camera motion analysis system (Vicon, OMG, Oxford, UK) was used to record the motion of the individual markers and in-shoe pressures sensors (F-Scan, Tekscan, Boston, USA) with a resolution of 3.9 sensels per cm2 measured plantar pressure distribution. The F-Scan sensors were trimmed to fit the plimsoll shoes and one pair of sensors was used per shoe size.

Prior to data collection, calibration of equipment was conducted according to manufacturer’s guidelines. For the motion analysis system a dynamic calibration was performed and residuals of less than 2 mm from each camera were deemed acceptable.A static standing trial was recorded for each condition and was used to estimate joint centres and other virtual points from the marker locations. Data was collected while the participants walked on the treadmill at a self selected speed (3.4 ± 0.5 km h-1). 8 trials of 10 s duration were recorded for each condition. Both motion analysis and in shoe pressure system employed a sampling frequency of 100 Hz and were synchronised for data collection using a custom made synchronisation box (Tekscan Inc., USA). The heel contact and toe off events during a gait cycle were identified using in-shoe pressures sensors and applied to the motion analysis trials.

*Data processing and analysis*

Plantar pressure analysis was conducted by dividing the contact area of the foot into 6 anatomically and functionally relevant regions which are shown in Figure 1. The 6 regions were hallux, 1st metatarsal, lateral metatarsals, midfoot, medial heel and lateral heel. Stance duration, peak pressure, peak force, pressure time integral and average contact area for each of the 6 regions was recorded using the proprietary software (F-Scan Research 6.51, Tekscan Boston, USA). Three-dimensional marker data was filtered with a Woltring filter (MSE=20) which is the method recommended by the manufacturer for optimum results. For lower limb kinematics the range of motion of the following were recorded; femur/tibia flexion, adduction and rotation, forefoot/hindfoot dorsiflexion, adduction and supination, hindfoot/tibia dorsiflexion and inversion and hallux/forefoot dorsiflexion. Additionally the change in angle of these variables (except hallux/forefoot dorsiflexion) early in the loading response30 (from heel strike to 6% of the gait cycle) was calculated. The first three trials collected for each condition which were deemed acceptable based on the correct data acquisition of both the Vicon and F-Scan systems were used for analysis. Eight trials were collected for each condition to ensure sufficient data was collected in case of data corruption of trials. The three trials, with 6-8 steps per trial (with the first and last steps removed from the analysis), were analysed and results for these three trials were then averaged to create a representative trial. For statistical analysis a repeated measures ANOVA (p ≤ 0.05) was used to access differences between conditions. Post hoc pair-wise comparisons with Bonferroni adjustments were conducted for multiple comparisons.

**INSERT FIGURE 1**

### Results

In this section SPSS Bonferroni adjusted p values are reported.

*1st session – flat material*

Mean values for stance duration and F-Scan in shoe measurements are provided in Table 1 with lower limb kinematic data presented in Table 2. The stance phase duration was significantly less for medium density EVA than low density EVA (0.70 ± 0.03s vs. 0.71 ± 0.03s). The shoe only condition produced significantly greater peak pressures than the other conditions at the 1st and lateral metatarsal regions only. The addition of medium density PU resulted in reduced peak pressure at the 1st metatarsal region, and all conditions except medium density EVA, resulted in reduced peak pressure at the lateral metatarsal region. Where significant differences were evident between the conditions medium density EVA always produced greater peak pressures than at least one of the other material conditions. Where significant differences were evident for peak force medium density EVA was found to produce greater peak forces at the lateral metatarsal region than all the other materials and than low density EVA and PU at the medial heel. In general the low and medium density PU were the most effective at increasing average contact area and at reducing pressure time integral. Significant differences for range of motion were evident for femur/tibia adduction with low density EVA significantly greater than medium density EVA and forefoot/hindfoot supination with the shoe only condition significantly less than medium density EVA. When going from heel strike to 6% of the gait cycle the change in angle for femur/tibia flexion was significantly greater for medium density EVA than the shoe only condition.

*2nd session – custom device*

Mean values for stance duration and F-Scan in shoe measurements are provided in Table 3 with lower limb kinematic data presented in Table 4. Medium density EVA and PU were found to significantly increase peak pressure at the hallux when compared to the shoe only condition. Both low density materials (PU and EVA) were found to significantly reduce peak pressure at the 1st and lateral metatarsals when compared to the shoe only condition. All the materials were effective at significantly reducing peak pressure at the medial and lateral heel when compared to the shoe only condition. Medium density PU and EVA increased peak force at the hallux and midfoot when compared to the shoe only condition. All the materials were effective at significantly reducing peak force at the medial and lateral heel. When compared to the shoe only condition contact area was significantly increased by all materials at the hallux and midfoot. All materials reduced pressure time integral at the lateral metatarsals and the medial and lateral heel. Significant differences for range of motion were evident for forefoot/hindfoot supination with the shoe only condition significantly greater than both PU conditions. When going from heel strike to 6% of the gait cycle the change in angle for femur/tibia flexion was significantly greater for low density PU than low density EVA.

**INSERT TABLES 1-4**

**Discussion**

As hypothesised various insole materials and different construction were found to have an effect on plantar pressure, however in contrast to our hypothesis there was little effect on lower limb kinematics.

*Kinematics*

Lower limb kinematics were assessed to examine the effect of the materials on ankle and foot joint mobility. Few significant differences were evident between conditions. Since these differences were small changes in actual joint angles and may not contribute to significant modifications in clinical intervention.(0.7°-1.49°), they were not considered relevant31. Similarly for the custom devices some small differences (1.13°-1.92°) in lower limb kinematics were evident between conditions. These small differences may be attributed to extrinsic factors such as marker placement procedures and related skin movement and intrinsic factors such as variability in functional anatomy between the participants. These factors might have had an influence in the

*Plantar Pressure*

Results for the flat insoles showed that medium density EVA always produced greater peak pressures than at least one of the other material conditions and that both PU insoles were most effective at increasing contact area and reducing pressure time integral, indicating the possibility that PU is superior to EVA when pressure reduction is a requirement. When the percentage change in peak pressure of the custom devices were compared to the shoe only condition, findings were similar to previous research24 whose custom devices were also found to increase peak pressure at the hallux. Whilst it is difficult to identify specific reasons for this increase, the changes could be attributed to the relationship between the participants’ plantar surface contour and the construction of the custom devices.

While no significant differences were evident between the materials for average contact area further analysis showed that when compared to the shoe only condition medium density PU increased the average contact area by a greater percentage than the three other materials in all six areas of the foot; hallux (30-38% greater), 1st met (16-20%), lateral metatarsals (8-11%), midfoot (20-26%), lateral heel (9-10%) and medial heel (26-32%). This suggests a possible difference in the loading characteristics of the material with medium density PU appearing to conform more with pressure therefore spreading the load over a greater area. This does not affect other measurements such as peak pressure in the zone, but does indicate a contouring around the anatomical structure that is applying the pressure such as the 1st metatarsal head or the hallux. This could have a clinical significance in the ability of the material to “off load” areas of the foot by distributing the force over a greater area and therefore changing the shape of the point of contact. Clinicians may consider this useful when choosing a material that needs to be supportive, corrective and have good pressure attenuation characteristics for patients with compromised ability to deal with pressure.

Additionally, while the average contact area for the medial and lateral heel in the custom devices was not significantly different to the shoe only condition the F-Scan sensors were cut to fit the shoe without the devices and therefore the sensors did not cover all of the heel contour on the custom devices and subsequently could not measure the entire contact area of the heel contour.

The effect of the manufacturing process on the production of custom devices also needs to be considered, manufacturing techniques may cause material deformation which may influence the material performance characteristics32.

*Flat insoles versus custom devices*

As significant differences were evident when the results for the shoe only condition from both the flat insoles and custom device sessions were tested subsequent comparisons between the two sessions were not completed.

While the present study examined the effect on plantar pressure and joint mobility of different materials used in orthoses prescribed for people with diabetes, normal population participants were recruited as research to date has not examined orthotic materials in this way before with this study providing baseline data on the performance of the tested materials for the normal population.

**Conclusion**

Results for the flat insoles suggest the use of PU for patients where a reduction in peak pressures is required. With regard to the custom devices the results for average contact area for medium density PU suggests a possible difference in the loading characteristics of the material, indicating that it may be a suitable material for patients with a compromised ability to deal with pressure.

Word count: 3,028

**References**

1. Spencer S. Pressure relieving interventions for preventing and treating diabetic foot ulcers. Cochrane Database Syst Rev 2000; 3.

2. Bus SA, Valk GD, van Deursen RW, Armstrong DG, Caravaggi C, Hlaváček P, et al. The effectiveness of footwear and offloading interventions to prevent and heal foot ulcers and reduce plantar pressure in diabetes: a systematic review. Diabetes Metab Res Rev 2008; 24: S162-S180.

3. Paton J, Bruce G, Jones R, Stenhouse E. Effectiveness of insoles used for the prevention of ulceration in the neuropathic diabetic foot: a systematic review. J Diabetes Complications 2011; 25: 52-62.

4. Mason J, O’Keeffe C, Hutchinson A, McIntosh A, Young R, Booth A. A systematic review of foot ulcer in patients with Type 2 diabetes mellitus. II: treatment. Diabetic Med 1999; 16: 889-909.

5. Healy A, Dunning DN, Chockalingam N. Materials used for footwear orthoses: a review. Footwear Sci 2010; 2: 93-110.

6. Rosenbaum D, Becker HP. Plantar pressure distribution measurements. Technical background and clinical applications. Foot Ankle Surg 1997; 3: 1-14.

7. Bus SA, Ulbrecht JS, Cavanagh PR. Pressure relief and load redistribution by custom-made insoles in diabetic patients with neuropathy and foot deformity. Clin Biomech 2004; 19: 629-638.

8. Mueller MJ, Lott DJ, Hastings MK, Commean PK, Smith KE, Pilgram TK. Efficacy and mechanism of orthotic devices to unload metatarsal heads in people with diabetes and a history of plantar ulcers. Phys Ther 2006; 86: 833-842.

9. Lavery LA, Vela SA, Ashry HR, Lanctot DR, Athanasiou KA. Novel methodology to obtain salient biomechanical characteristics of insole materials. J Am Podiatr Med Assoc 1997; 87: 266.

10. Burns J, Wegener C, Begg L, Vicaretti M, Fletcher J. Randomized trial of custom orthoses and footwear on foot pain and plantar pressure in diabetic peripheral arterial disease. Diabet Med 2009; 26: 893-899.

11. Stokes IAF, Faris IB, Hutton WC. The neuropathic ulcer and loads on the foot in diabetic patients. Acta Orthop Scand 1975; 46: 839-847.

12. Veves A, Murray HJ, Young MJ, Boulton AJM. The risk of foot ulceration in diabetic patients with high foot pressure: a prospective study. Diabetologia 1992; 35: 660-663.

13. Reiber GE, Vileikyte L, Boyko EJ, del Aguila M, Smith DG, Lavery LA, et al. Causal pathways for incident lower-extremity ulcers in patients with diabetes from two settings. Diabetes Care 1999; 22: 157-162.

14. Van Schie CHM. A review of the biomechanics of the diabetic foot. Int J Low Extrem Wounds 2005; 4: 160-170.

15. Viswanathan V, Snehalatha C, Sivagami M, Seena R, Ramachandran A. Association of limited joint mobility and high plantar pressure in diabetic foot ulceration in Asian Indians. Diabetes Res Clin Pract 2003; 60: 57-61.

16. Fernando DJ, Masson EA, Veves A, Boulton AJ. Relationship of limited joint mobility to abnormal foot pressures and diabetic foot ulceration. Diabetes Care 1991; 14: 8-11.

17. Delbridge L, Perry P, Marr S, Arnold N, Yue DK, Turtle JR, et al. Limited joint mobility in the diabetic foot: relationship to neuropathic ulceration. Diabetic Med 1988; 5: 333-337.

18. Mohamed O, Cerny K, Rojek L, Herbert K, Turner R, Waistell S. The Effects of Plastazote® and Aliplast®/Plastazote® Orthoses on Plantar Pressures in Elderly Persons With Diabetic Neuropathy. J Prosthet Orthot 2004; 16: 55-63.

19. Burns J, Begg L, Vicaretti M. Comparison of orthotic materials on foot pain, comfort, and plantar pressure in the neuroischemic diabetic foot: a case report. J Am Podiatr Med Assoc 2008; 98: 143.

20. Birke JA, Foto JG, Pfiefer LA. Effect of orthosis material hardness on walking pressure in high-risk diabetes patients. J Prosthet Orthot 1999; 11: 43-46.

21. Tong JWK, Ng EYK. Preliminary investigation on the reduction of plantar loading pressure with different insole materials (SRP - Slow Recovery Poron®, P - Poron®, PPF - Poron® + Plastazote, firm and PPS - Poron® + Plastazote, soft). The Foot 2010; 20: 1-6.

22. Healy A, Dunning D, Chockalingam N, Naemi R. An investigation into the prescription procedures and material choice involved in the provision of bespoke foot orthoses for Diabetic patients. 2010; Presented to 8th Staffordshire Conference on Clinical Biomechanics. Stoke on Trent, UK.

23. Duffin AC, Kidd R, Chan A, Donaghue KC. High plantar pressure and callus in diabetic adolescents: Incidence and treatment. J Am Podiatr Med Assoc 2003; 93: 214-220.

24. Yuk San Tsung B, Zhang M, Fuk Tat Mak A, Wan Nar Wong M. Effectiveness of insoles on plantar pressure redistribution. J Rehabil Res Dev 2004; 41: 767-774.

25. Lord M, Hosein R. Pressure redistribution by molded inserts in diabetic footwear: a pilot study. J Rehabil Res Dev 1994; 31: 214-221.

26. Ashry HR, Lavery LA, Murdoch DP, Frolich M, Lavery DC. Effectiveness of diabetic insoles to reduce foot pressures. J Foot Ankle Surg 1997; 36: 268-271.

27. Branthwaite HR, Payton CJ, Chockalingam N. The effect of simple insoles on three-dimensional foot motion during normal walking. Clin Biomech 2004; 19: 972-977.

28. Bates BT, Dufek JS, Davis HP. The effect of trial size on statistical power. Med Sci Sports Exerc 1992; 24: 1059.

29. Stebbins J, Harrington M, Thompson N, Zavatsky A, Theologis T. Repeatability of a model for measuring multi-segment foot kinematics in children. Gait Posture 2006; 23: 401-410.

30. Perry J. Gait analysis: Normal and Pathological Function. New Jersey: SLACK Inc.; 1992.

31. Nigg BM, Khan A, Fisher V, Stefanyshyn D. Effect of shoe insert construction on foot and leg movement. Med Sci Sports Exerc 1998; 30: 550-555.

32. Mills NJ, Rodriguez-Perez MA. Modelling the gas-loss creep mechanism in EVA foam from running shoes. Cell Polym 2001; 20: 79-100.



Figure 1. Definition for division of foot into 6 sections.

Table 1. Comparison of F-Scan in shoe pressure measurements between conditions for flat material session (mean ± standard deviation).

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Foot area | Variable | Shoe only | PU Medium Density | PU Low Density | EVA Medium Density | EVA Low Density | p value | Post hoc results |
|  | Stance duration (s) | 0.70 ± 0.03 | 0.70 ± 0.04 | 0.71 ± 0.04 | 0.70 ± 0.03 | 0.71 ± 0.03 | 0.034\* | EVA MD < EVA LD |
| Hallux | Peak Pressure (kPa) | 172.34 ± 78.15 | 151.67 ± 48.82 | 149.43 ± 58.97 | 197.64 ± 94.13 | 171.54 ± 61.12 | 0.001\* | EVA MD > PU LD |
| Peak force (N/BW) | 0.027 ± 0.014 | 0.025 ± 0.009 | 0.024 ± 0.010 | 0.032 ± 0.017 | 0.027 ± 0.011 | 0.021\* | NSD in post hoc tests |
| Average contact area (cm2) | 3.24 ± 1.37 | 4.10 ± 1.21 | 4.38 ± 1.66 | 3.81 ± 1.40 | 3.90 ± 1.47 | < 0.001\* | PU MD, PU LD + EVA LD > SO |
| PTI (kPa s) | 23.41 ± 14.81 | 24.23 ± 11.15 | 22.27 ± 9.39 | 27.21 ± 15.00 | 25.08 ± 11.22 | 0.114 |  |
| 1st met | Peak Pressure (kPa) | 215.73 ± 69.80 | 180.04 ± 67.15 | 191.46 ± 79.32 | 211.24 ± 62.94 | 185.35 ± 69.45 | < 0.001\* | SO + EVA MD > PU MD |
| Peak force (N/BW) | 0.034 ± 0.012 | 0.029 ± 0.012 | 0.031 ± 0.014 | 0.034 ± 0.012 | 0.029 ± 0.011 | 0.007\* | NSD in post hoc tests |
| Average contact area (cm2) | 8.86 ± 2.67 | 9.80 ± 2.79 | 10.57 ± 3.00 | 9.06 ± 2.04 | 9.36 ± 2.80 | < 0.001\* | PU MD > SO; PU LD > SO, EVA MD + EVA LD |
| PTI (kPa s) | 40.17 ± 14.98 | 33.37 ± 11.23 | 34.28 ± 13.11 | 36.38 ± 9.95 | 35.38 ± 12.83 | 0.001\* | SO > PU MD + PU LD |
| Lateral mets | Peak Pressure (kPa) | 352.45 ± 77.39 | 288.02 ± 62.90 | 292.15 ± 51.61 | 337.26 ± 57.22 | 295.71 ± 54.79 | < 0.001\* | SO + EVA MD > PU MD, PU LD + EVA LD |
| Peak force (N/BW) | 0.057 ± 0.017 | 0.046 ± 0.011 | 0.047 ± 0.010 | 0.054 ± 0.012 | 0.047 ± 0.011 | < 0.001\* | SO + EVA MD > PU MD, PU LD + EVA LD |
| Average contact area (cm2) | 24.42 ± 3.96 | 25.98 ± 3.63 | 28.00 ± 3.74 | 25.47 ± 3.87 | 25.38 ± 3.95 | < 0.001\* | PU MD, PU LD, EVA MD + EVA LD > SO; PU LD > PU MD, EVA MD + EVA LD |
| PTI (kPa s) | 48.44 ± 11.07 | 43.93 ± 11.43 | 39.73 ± 9.37 | 47.67 ± 10.63 | 45.52 ± 11.00 | < 0.001\* | SO, EVA MD + EVA LD > PU LD; SO > PU MD |
| Midfoot | Peak Pressure (kPa) | 81.86 ± 57.11 | 74.55 ± 30.78 | 76.10 ± 29.37 | 78.57 ± 35.93 | 77.35 ± 35.34 | 0.692 |  |
| Peak force (N/BW) | 0.013 ± 0.010 | 0.012 ± 0.005 | 0.012 ± 0.005 | 0.012 ± 0.005 | 0.012 ± 0.006 | 0.527 |  |
| Average contact area (cm2) | 10.28 ± 5.06 | 11.42 ± 4.49 | 12.74 ± 4.29 | 10.55 ± 4.94 | 11.29 ± 4.69 | < 0.001\* | PU LD > SO, PU MD, EVA MD + EVA LD |
| PTI (kPa s) | 18.15 ± 6.35 | 18.96 ± 5.57 | 18.54 ± 5.92 | 18.81 ± 5.12 | 19.20 ± 5.88 | 0.574 |  |
| Medial heel | Peak Pressure (kPa) | 254.25 ± 69.36 | 224.40 ± 73.18 | 228.03 ± 56.81 | 255.71 ± 63.08 | 232.65 ± 59.19 | 0.008\* | EVA MD > PU LD + EVA LD |
| Peak force (N/BW) | 0.041 ± 0.013 | 0.036 ± 0.012 | 0.037 ± 0.010 | 0.041 ± 0.011 | 0.038 ± 0.010 | 0.043\* | EVA MD > PU LD + EVA LD |
| Average contact area (cm2) | 7.77 ± 2.72 | 8.44 ± 2.38 | 8.65 ± 2.07 | 8.31 ± 2.45 | 8.52 ± 2.54 | 0.072 |  |
| PTI (kPa s) | 41.69 ± 12.71 | 37.73 ± 13.23 | 34.84 ± 11.09 | 41.23 ± 12.90 | 39.27 ± 12.98 | 0.001\* | SO, EVA MD + EVA LD > PU LD |
| Lateral heel | Peak Pressure (kPa) | 262.60 ± 75.93 | 239.11 ± 70.21 | 243.65 ± 57.33 | 267.83 ± 75.53 | 244.49 ± 64.50 | 0.003\* | EVA MD > EVA LD |
| Peak force (N/BW) | 0.042 ± 0.014 | 0.039 ± 0.013 | 0.039 ± 0.012 | 0.043 ± 0.014 | 0.039 ± 0.012 | 0.075 |  |
| Average contact area (cm2) | 12.60 ± 3.16 | 13.59 ± 3.53 | 13.54 ± 3.13 | 13.28 ± 3.48 | 13.40 ± 3.25 | 0.088 |  |
| PTI (kPa s) | 38.11 ± 12.36 | 36.83 ± 12.20 | 34.26 ± 9.39 | 39.32 ± 11.69 | 37.52 ± 10.80 | 0.007\* | EVA MD > PU LD |

Note: SO = Shoe only; PU MD = PU medium density; PU LD = PU low density; EVA MD = EVA medium density; EVA LD = EVA low density; NSD = no significant difference

\*Significant difference (p ≤ 0.05) between conditions

Table 2. Comparison of kinematic variables between conditions for flat material session (mean ± standard deviation).

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Variable** | **Angle (°)** | **Shoe only** | **PU Medium Density** | **PU Low Density** | **EVA Medium Density** | **EVA Low Density** | **p value** | **Post hoc result** |
| Range of motion | Knee - Flexion | 62.76 ± 4.56 | 62.17 ± 4.15 | 63.40 ± 4.35 | 62.94 ± 4.71 | 63.19 ± 4.78 | 0.405 |  |
| Knee - Adduction | 13.51 ± 7.59 | 13.81 ± 7.37 | 14.37 ± 7.26 | 13.71 ± 6.24 | 14.58 ± 6.79 | 0.035\* | EVA LD > EVA MD |
| Knee - Rotation | 23.84 ± 7.18 | 23.73 ± 7.87 | 23.99 ± 7.84 | 24.19 ± 8.29 | 23.79 ± 7.61 | 0.729 |  |
| Forefoot/Hindfoot – Dorsiflexion | 6.07 ± 1.65 | 5.73 ± 1.82 | 5.68 ± 2.03 | 5.57 ± 2.01 | 5.78 ± 2.14 | 0.603 |  |
| Forefoot/Hindfoot - Adduction | 5.54 ± 1.38 | 4.89 ± 1.22 | 5.04 ± 1.55 | 4.42 ± 1.89 | 4.65 ± 2.06 | 0.473 |  |
| Forefoot/Hindfoot - Supination | 7.56 ± 2.37 | 6.74 ± 3.03 | 6.73 ± 2.90 | 6.77 ± 2.63 | 6.07 ± 3.05 | 0.007\* | SO > EVA LD |
| Hindfoot/Tibia – Dorsiflexion | 27.87 ± 5.72 | 26.05 ± 5.87 | 26.93 ± 4.94 | 27.65 ± 6.65 | 27.44 ± 5.50 | 0.247 |  |
| Hindfoot/Tibia – Inversion | 15.61 ± 5.47 | 15.34 ± 5.18 | 15.88 ± 4.74 | 15.23 ± 5.78 | 15.25 ± 5.04 | 0.655 |  |
| Hallux/Forefoot Dorsiflexion | 15.45 ± 4.71 | 13.62 ± 6.04 | 15.01 ± 5.85 | 14.20 ± 4.95 | 12.94 ± 6.02 | 0.125 |  |
| Change in angle between heel strike and 6% of gait cycle\*\* | Knee - Flexion | 3.70 ± 1.68 | 3.89 ± 1.59 | 4.39 ± 1.64 | 4.40 ± 1.74 | 4.30 ± 2.14 | 0.037\* | SO < EVA MD |
| Knee - Adduction | -0.40 ± 0.86 | -0.47 ± 1.02 | -0.54 ± 0.98 | -0.50 ± 1.11 | -0.39 ± 1.09 | 0.246 |  |
| Knee - Rotation | 2.21 ± 3.44 | 0.70 ± 2.51 | 1.19 ± 2.61 | 1.68 ± 2.45 | 1.83 ± 2.81 | 0.098 |  |
| Forefoot/Hindfoot – Dorsiflexion | 0.81 ± 1.01 | 1.05 ± 0.94 | 0.92 ± 1.00 | 0.83 ± 1.02 | 0.82 ± 0.83 | 0.682 |  |
| Forefoot/Hindfoot - Adduction | -0.18 ± 0.87 | -0.33 ± 0.82 | -0.41 ± 0.84 | -0.10 ± 0.79 | -0.18 ± 0.52 | 0.492 |  |
| Forefoot/Hindfoot - Supination | -1.20 ± 1.69 | -0.49 ± 0.90 | -0.81 ± 1.19 | -0.89 ± 1.27 | -0.74 ± 0.91 | 0.198 |  |
| Hindfoot/Tibia – Dorsiflexion | -2.91 ± 2.52 | -3.81 ± 1.22 | -3.74 ± 1.66 | -3.44 ± 2.18 | -3.76 ± 1.71 | 0.288 |  |
| Hindfoot/Tibia – Inversion | -1.12 ± 1.45 | -1.56 ± 1.07 | -1.59 ± 1.29 | -1.54 ± 1.08 | -1.60 ± 1.41 | 0.294 |  |

Note: SO = Shoe only; EVA MD = EVA medium density; EVA LD = EVA low density

\*Significant difference (p ≤ 0.05) between conditions

\*\*+ = increase in angle from heel strike to 6% gait cycle; - = decrease in angle from heel strike to 6% gait cycle

Table 3. Comparison of F-Scan in shoe pressure measurements between conditions for custom device session (mean ± standard deviation).

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Foot area** | **Variable** | **Shoe only** | **PU Medium Density** | **PU Low Density** | **EVA Medium Density** | **EVA Low Density** | **p value** | **Post hoc results** |
|  | Stance duration (s) | 0.69 ± 0.04 | 0.70 ± 0.03 | 0.69 ± 0.03 | 0.70 ± 0.03 | 0.70 ± 0.04 | 0.21 |  |
| Hallux | Peak Pressure (kPa) | 174.09 ± 77.06 | 232.54 ± 79.25 | 203.03 ± 75.16 | 233.83 ± 93.11 | 206.31 ± 60.62 | < 0.001\* | SO < PU MD + EVA MD |
| Peak force (N/BW) | 0.028 ± 0.01 | 0.038 ± 0.02 | 0.033 ± 0.01 | 0.038 ± 0.02 | 0.033 ± 0.01 | < 0.001\* | SO < PU MD + EVA MD |
| Average contact area (cm2) | 2.81 ± 1.53 | 4.84 ± 2.66 | 3.99 ± 1.61 | 3.76 ± 1.65 | 3.81 ± 1.51 | 0.015\* | SO < PU MD, PU LD, EVA MD + EVA LD |
| PTI (kPa s) | 22.64 ± 11.40 | 35.71 ± 16.94 | 33.67 ± 14.42 | 35.68 ± 18.32 | 32.34 ± 13.30 | < 0.001\* | SO < PU MD, PU LD, EVA MD + EVA LD |
| 1st met | Peak Pressure (kPa) | 257.15 ± 85.80 | 231.69 ± 83.87 | 217.88 ± 68.92 | 222.82 ± 67.23 | 209.45 ± 48.04 | 0.001\* | SO > PU LD, EVA MD + EVA LD |
| Peak force (N/BW) | 0.042 ± 0.02 | 0.038 ± 0.02 | 0.036 ± 0.01 | 0.036 ± 0.01 | 0.034 ± 0.01 | 0.002\* | SO > EVA MD |
| Average contact area (cm2) | 8.37 ± 2.94 | 10.37 ± 4.96 | 9.04 ± 2.69 | 8.67 ± 3.10 | 8.95 ± 2.80 | 0.145 |  |
| PTI (kPa s) | 42.83 ± 10.13 | 39.33 ± 11.51 | 38.88 ± 9.44 | 38.92 ± 10.85 | 38.46 ± 10.56 | 0.019\* | SO > EVA LD |
| Lateral mets | Peak Pressure (kPa) | 403.46 ± 102.03 | 377.06 ± 103.38 | 343.61 ± 84.37 | 367.84 ± 65.86 | 336.85 ± 65.77 | 0.001\* | SO > PU LD + EVA LD; EVA MD > EVA LD |
| Peak force (N/BW) | 0.066 ± 0.02 | 0.062 ± 0.02 | 0.056 ± 0.02 | 0.060 ± 0.01 | 0.055 ± 0.01 | 0.001\* | SO > PU LD + EVA LD; EVA MD > EVA LD |
| Average contact area (cm2) | 23.00 ± 4.54 | 26.08 ± 6.83 | 24.27 ± 5.62 | 23.55 ± 6.10 | 23.60 ± 5.54 | 0.004\* | NSD in post hoc tests |
| PTI (kPa s) | 56.08 ± 8.65 | 50.99 ± 6.71 | 47.73 ± 7.89 | 50.12 ± 6.43 | 49.14 ± 9.36 | < 0.001\* | SO > PU MD, PU LD, EVA MD + EVA LD |
| Midfoot | Peak Pressure (kPa) | 78.10 ± 31.59 | 99.51 ± 34.17 | 92.34 ± 34.45 | 110.23 ± 38.45 | 98.38 ± 38.19 | 0.004\* | SO < EVA MD |
| Peak force (N/BW) | 0.012 ± 0.00 | 0.016 ± 0.00 | 0.015 ± 0.01 | 0.018 ± 0.01 | 0.016 ± 0.01 | 0.002\* | SO < PU MD + EVA MD |
| Average contact area (cm2) | 7.09 ± 4.08 | 16.96 ± 6.21 | 15.57 ± 5.66 | 15.13 ± 7.06 | 15.23 ± 7.27 | < 0.001\* | SO < PU MD, PU LD, EVA MD + EVA LD |
| PTI (kPa s) | 19.76 ± 5.33 | 24.79 ± 5.02 | 23.39 ± 6.37 | 25.34 ± 6.16 | 24.35 ± 6.82 | < 0.001\* | SO < PU MD,EVA MD + EVA LD |
| Medial heel | Peak Pressure (kPa) | 299.45 ± 120.79 | 185.67 ± 57.85 | 185.87 ± 55.76 | 176.13 ± 58.18 | 172.67 ± 51.51 | < 0.001\* | SO > PU MD, PU LD, EVA MD + EVA LD |
| Peak force (N/BW) | 0.048 ± 0.02 | 0.030 ± 0.01 | 0.030 ± 0.01 | 0.028 ± 0.01 | 0.028 ± 0.01 | < 0.001\* | SO > PU MD, PU LD, EVA MD + EVA LD |
| Average contact area (cm2) | 6.80 ± 2.34 | 10.56 ± 4.93 | 8.37 ± 2.40 | 8.82 ± 2.74 | 8.43 ± 1.72 | 0.017\* | NSD in post hoc tests |
| PTI (kPa s) | 50.31 ± 23.35 | 31.64 ± 10.87 | 31.27 ± 11.15 | 30.73 ± 9.33 | 29.17 ± 9.44 | < 0.001\* | SO > PU MD, PU LD, EVA MD + EVA LD |
| Lateral heel | Peak Pressure (kPa) | 325.84 ± 100.19 | 189.66 ± 61.50 | 194.31 ± 60.10 | 182.48 ± 49.40 | 180.99 ± 50.85 | < 0.001\* | SO > PU MD, PU LD, EVA MD + EVA LD |
| Peak force (N/BW) | 0.053 ± 0.02 | 0.031 ± 0.01 | 0.032 ± 0.01 | 0.030 ± 0.01 | 0.030 ± 0.01 | < 0.001\* | SO > PU MD, PU LD, EVA MD + EVA LD |
| Average contact area (cm2) | 11.87 ± 2.81 | 13.39 ± 4.57 | 12.21 ± 2.67 | 12.33 ± 2.67 | 12.36 ± 2.98 | 0.287 |  |
| PTI (kPa s) | 46.80 ± 16.86 | 31.87 ± 10.34 | 32.34 ± 9.85 | 31.74 ± 7.73 | 30.31 ± 8.34 | < 0.001\* | SO > PU MD, PU LD, EVA MD + EVA LD |

Note: SO = Shoe only; PU MD = PU medium density; PU LD = PU low density; EVA MD = EVA medium density; EVA LD = EVA low density; NSD = no significant difference

\*Significant difference (p ≤ 0.05) between conditions

Table 4. Comparison of kinematic variables between conditions for custom device session (mean ± standard deviation).

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Variable** | **Angle (°)** | **Shoe only** | **PU Medium Density** | **PU Low Density** | **EVA Medium Density** | **EVA Low Density** | **p value** | **Post hoc result** |
| Range of motion | Knee - Flexion | 62.98 ± 3.79 | 63.28 ± 3.59 | 63.41 ± 3.62 | 62.71 ± 3.79 | 62.91 ± 3.05 | 0.761 |  |
| Knee - Adduction | 12.84 ± 6.49 | 13.36 ± 5.45 | 13.91 ± 5.61 | 12.50 ± 4.05 | 13.42 ± 5.43 | 0.533 |  |
| Knee - Rotation | 24.98 ± 6.22 | 26.69 ± 7.58 | 25.85 ± 6.58 | 26.10 ± 7.48 | 26.01 ± 7.62 | 0.266 |  |
| Forefoot/Hindfoot – Dorsiflexion | 7.31 ± 1.77 | 6.65 ± 1.49 | 7.00 ± 1.82 | 7.09 ± 1.62 | 6.58 ± 2.39 | 0.292 |  |
| Forefoot/Hindfoot - Adduction | 5.48 ± 1.21 | 4.31 ± 2.45 | 3.56 ± 1.11 | 4.40 ± 3.32 | 3.89 ± 1.44 | 0.071 |  |
| Forefoot/Hindfoot - Supination | 7.10 ± 2.56 | 5.31 ± 1.86 | 5.18 ± 1.72 | 5.66 ± 2.22 | 6.10 ± 2.74 | 0.011\* | SO > PU MD + PU LD |
| Hindfoot/Tibia – Dorsiflexion | 26.51 ± 4.66 | 27.02 ± 4.88 | 26.71 ± 4.86 | 26.71 ± 6.04 | 26.65 ± 5.36 | 0.974 |  |
| Hindfoot/Tibia – Inversion | 15.73 ± 4.43 | 15.60 ± 5.13 | 15.43 ± 5.04 | 15.18 ± 5.73 | 14.98 ± 3.60 | 0.789 |  |
| Hallux/Forefoot Dorsiflexion | 12.40 ± 8.40 | 10.81 ± 6.70 | 11.15 ± 5.92 | 12.05 ± 5.29 | 12.29 ± 5.65 | 0.568 |  |
| Change in angle between heel strike and 6% of gait cycle\*\* | Knee - Flexion | 4.24 ± 1.64 | 4.73 ± 1.93 | 4.86 ± 1.75 | 4.17 ± 1.90 | 3.73 ± 1.86 | 0.004\* | PU LD > EVA LD |
| Knee - Adduction | -0.89 ± 1.02 | -0.66 ± 0.91 | -0.97 ± 1.08 | -0.73 ± 0.87 | -0.83 ± 1.09 | 0.062 |  |
| Knee - Rotation | 1.22 ± 1.72 | 0.50 ± 3.86 | 1.40 ± 2.60 | 0.97 ± 2.46 | -0.26 ± 3.48 | 0.196 |  |
| Forefoot/Hindfoot – Dorsiflexion | 0.87 ± 1.08 | 0.93 ± 1.02 | 1.33 ± 1.20 | 1.32 ± 1.50 | 1.13 ± 1.02 | 0.022\* | NSD in post hoc tests |
| Forefoot/Hindfoot - Adduction | -0.26 ± 0.90 | 0.05 ± 0.62 | -0.01 ± 0.65 | 0.05 ± 0.80 | -0.08 ± 0.90 | 0.675 |  |
| Forefoot/Hindfoot - Supination | -0.99 ± 1.10 | -0.59 ± 0.76 | -0.77 ± 1.02 | -0.66 ± 0.91 | -0.83 ± 1.04 | 0.43 |  |
| Hindfoot/Tibia – Dorsiflexion | -3.76 ± 2.03 | -3.95 ± 2.08 | -3.71 ± 2.35 | -4.22 ± 2.08 | -3.89 ± 2.08 | 0.738 |  |
| Hindfoot/Tibia – Inversion | -1.22 ± 1.42 | -1.31 ± 1.37 | -1.66 ± 1.79 | -0.96 ± 1.50 | -1.09 ± 1.25 | 0.125 |  |

Note: SO = Shoe only; PU MD = PU medium density; PU LD = PU low density; EVA MD = EVA medium density. ; NSD = no significant difference

\*Significant difference (p ≤ 0.05) between conditions

\*\*+ = increase in angle from heel strike to 6% gait cycle; - = decrease in angle from heel strike to 6% gait cycle